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To:  All Bidders







August 3, 2026
RFP for Water Pollution Control System 
City of Struthers
ADDENDUM #01
Listed below is the Addendum to the Contract Documents:
A. Bidder Questions with Responses as follows:

1. Bidder Question: The OHM Memorandum of September 11, 2025, page 3 paragraph 8c, stated: “There are approx. 4,568 households that are connected to the water system according to U.S. Census Bureau data from 2023.” Excluding customers served by the county, please provide the total Water Pollution Control (WPC) connections served by the city:

(a) Residential 

(b) Commercial 

(c) Industrial 

(d) Public 

Response: Annual Statements of Cash from Revenue and Expenses along with yearly detailed Revenue and Expense Reports are included with this addendum. Aqua Ohio oversees billing for the city if customer make up is warranted. 
2. Bidder Question: Please provide the WPC system’s Total Operating Receipts:

a. 2024 

b. 2025

Response: Annual Statements of Cash from Revenue and Expenses along with yearly detailed Revenue and Expense Reports are included with this addendum.
3. Bidder Question: Please provide the WPC’s total capital dollars spent on the system:

a. 2024

b. 2025

Response: Annual Statements of Cash from Revenue and Expenses along with yearly detailed Revenue and Expense Reports are included with this addendum.
4. Bidder Question: Please provide a copy of Ordinance No. 09-002 (The Mahoning County Contract Ordinance).


Response: Ordinance No. 09-002 is included with this addendum.
5. Bidder Question: Please provide the most recent Mahoning County City of Struthers Agreement regarding WPC services.

Response: Ordinance No. 09-002 is included with this addendum. There are no other active agreements.
6. Bidder Question: Please provide Mahoning County payments to the city for WPC services:

a. 2024

b. 2025

Response: Annual Statements of Cash from Revenue and Expenses along with yearly detailed Revenue and Expense Reports are included with this addendum.
7. Bidder Question: Please state whether any of the eighteen employees listed in the RFP will be retained by the city for Storm Water operations.

Response: The city anticipates three (3) employees needed for stormwater operations. 
8. Bidder Question: Please provide a copy of the current labor agreement

Response: This information is provided in studies to be included with this addendum. 
9. Bidder Question: Please provide O&M Manual (the link on the RFP website is not active)

Response: This information is provided in studies to be included with this addendum. 
10. Bidder Question: Please provide the status of the capital projects listed in the OHM Technical Memorandum dated Sept. 11, 2025.

a. Are any complete of these projects complete? 

b. Are any projects currently underway and if so, what is the expected completion date? 

c. Please provide Engineering studies related to projects proposed in OHM Technical Memorandum.
Response: 
a. No

b. Slide Gate bids opened, not awarded yet.
c. Capital improvements summarized in the previous rate study were based on WPC high level estimates.
11. Bidder Question: Studies 

a. Please provide studies completed to study I&I reduction within the collection system or proposed strategies and/or projects related to I&I or SSO reduction. The following studies are of particular interest:  

i. Sanitary Sewer System I/I Removal Plan and Overflow Reduction Plan submitted by MS Consultants (2019) 

ii. SSO Reduction Plan by Kimley Horn on behalf of the City (2025)

iii. IBI Flow Study (2019) 

iv. MS Consultants State Street Capacity Study (2018)

v. Ongoing Kimley Horn I&I / Flow monitoring Study (2026) 

vi. Any studies of increasing treatment capacity at the plant 

Response:


i.


ii. Ongoing, not available.


iii. Paper copy included


iv. 



v.  Ongoing, not available.

vi. No
12. Bidder Question: Please provide available documentation for reclassification of Plant from Class VI to Class III. 
Response: EPA would hold this information.
13. Bidder Question: Please provide maps of the Collection System.  
Response: Paper maps included
14. Bidder Question: Please provide the volume of flow (MGD) from Mahoning County for the past two years.
Response: 1.8 billion gallons roughly
15. Bidder Question: Please clarify ownership of laterals that connect customers to the collection lines. Are they owned by the city or customers?
Response: Property owners own laterals
16. Bidder Question: Please provide the treatment plant’s electric and natural gas bills for 2025. 

Response: Annual Statements of Cash from Revenue and Expenses along with yearly detailed Revenue and Expense Reports are included with this addendum.
17. Bidder Question: How are overflows at lift stations being monitored?
Response: SCADA
18. Bidder Question: Please provide names of the employees currently in the positions listed on page 4 of the RFP
Response:
1. JEFF HIGH- 33 YRS

2. JASON HALL -20

3. MIKE WILDES-14

4. MIKE BUNDY-13

5. SAM SANDUSKY-13

6. ANDREW SEPESY-9

7. COURTNEY SKELLEY-7

8. CHRIS DESALVO- 6

9. DYLAN SCHMIDT-4

10. ERIC ANDERSON-3

11. MIKE DUPONTY- 3

12. NICK MIDILINSKI-2

13. DAN GREEN-2

14. DAN CLARK -1

15. DYLAN SCHMITT-1

16. DAN CLARK-1

17. CHRIS BAIRD-1

18. CORY BOOTH -5

19. Bidder Question: Please expand on the requirement that each proposal shall include a Bid Guaranty Bond and Contract Bond (100% of the Proposal Amount). Essential Utilities, parent company of Aqua Ohio, has a $1.0 billion unsecured revolving credit facility, with an available liquidity of ~$671 million as of Q1 2026. Aqua Ohio plans to use the revolving credit facility (vs. Bid Guaranty Bond and Contract Bond) to fund the Proposal Amount. Please confirm the approach is acceptable to the City of Struthers.  
Response: Yes, the city will accept revolving credit from Essential Utilities.
End of Addendum (subject to attachments, if referenced above)
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